ORTHOVISION

- Dataset Overview

The dataset consists of surface photographs of human backs, categorized into two groups: scoliosis and normal.

Visual Markers: Unlike X-rays, which show bone structure, these images capture external indicators of scoliosis, such as shoulder blade asymmetry, uneven waistlines, or spinal leaning.

Structure: The data is organized into two primary categories: scoliosis (positive cases) and normal (control group).

Metadata Extraction: Using Pandas, we extract secondary numerical features from the raw images, such as aspect ratio and average brightness. This allows us to perform exploratory data analysis (EDA) to ensure the model isn't learning "noise" (like different lighting conditions between clinics) rather than actual physiological markers.

Preprocessing: Images are standardized to a 600 X 600 resolution with RGB normalization to maintain a balance between computational efficiency and skeletal feature retention.

- Project Methodology

Model 1: Binary Convolutional Neural Network (CNN)

The first model is a custom-built CNN designed for Detection. It consists of multiple convolutional layers for feature extraction, followed by max-pooling to reduce dimensionality and a dropout layer (0.5) to prevent overfitting on limited medical data. It outputs a probability score using a Sigmoid activation function.

Model 2: Surface Landmark Regression (Pose Estimation)

The second model shifts from classification to Measurement. Using the MediaPipe Pose architecture, this phase identifies 33 skeletal keypoints. For orthopedic analysis, we specifically extract the coordinates of the shoulders and the hips. This allows for a geometric reconstruction of the patient's posture.

III. Suitability Analysis

These models were chosen specifically to mirror the clinical workflow of a radiologist.

Why Model 1 for Detection?

Spatial Hierarchy: CNNs are inherently suited for X-rays because they excel at identifying spatial hierarchies. They can detect low-level edges (bone boundaries) and high-level patterns (spinal curvature) regardless of where the spine is positioned in the frame.

Efficiency: Before performing complex geometric calculations, a fast binary filter (Model 1) ensures that computational resources are only spent on images that actually contain scoliosis.

Why Model 2 for Cobb Angle Calculation?

Precision over Classification: A standard CNN cannot "calculate" an angle; it can only "recognize" a pattern. By using a keypoint regression model, we can extract exact $(x, y)$ coordinates.

Mathematical Grounding: Once the coordinates of the tilted vertebrae are identified, we can apply the Cobb Angle formula:

$$\theta = \left| \tan^{-1} \left( \frac{x_2 - x_1}{y_2 - y_1} \right) \right| \times \frac{180}{\pi}$$

Clinical Validity: This approach removes the "Black Box" nature of AI. By plotting the skeletal landmarks and the spinal vector directly onto the output image, the system provides visual evidence for its diagnosis, allowing practitioners to verify the result manually.